	[image: image1.jpg]



	LOS ANGELES DEPARTMENT OF WATER AND POWER

POLE INSPECTION TAGS 




All excavated, sounded and bored, visual, rejected, reinforceable, and treated wood poles will be tagged. All Tags shall be fixed at eye level; approximately six (6) feet above ground line and faced toward the road, or point of access.


       








Yellow tag indicates that the pole has been rejected, but is 

Reinforceable .  

White tag indicates that the pole has been rejected, and is 

Not Reinforceable.

Two yellow tags indicate that the pole has been rejected, but is Reinforceable. It is a Priority Pole, meaning that it is in need of immediate attention from a wood standpoint, it has the equivalent of 1” one inch or less shell.
Two white tags indicate that the pole has been rejected, and is Not Reinforceable. It is a Priority Pole, meaning that it is in need of immediate attention from a wood standpoint, it has the equivalent of 1” one inch or less shell.


Indicates that the pole has been inspected, sounded and bored, and received internal treatment.



Indicates that the pole has been visually inspected, it is either a new pole, or can’t be sounded and bored.







YELLOW

















  WHITE











YELLOW

















YELLOW

















  WHITE











  WHITE





  DWP





  2010





  


   �     �





 DWP





  2010


















































V


I


S


U


A


L











