	[image: image1.jpg]



	LOS ANGELES DEPARTMENT OF WATER AND POWER

GENERAL ORDER 95 – RULE 18 
NOTIFICATION OF SAFETY HAZARDS FORM




This form should by used by utilities to inform the Los Angeles Department of Water and Power of General Order 95 – Rule 18B Notification of Safety Hazards. 

General Order 95

· Rule 18A – A “safety hazard” means a condition that poses a significant threat to life or property, including, but not limited to, the ignition of a wildland or structure fire. 

· Rule 18B - If a company, while inspecting its facilities, discovers a safety hazard on or near a communications facility, electric transmission or distribution facility involving another company, the inspecting company shall notify the other company and/or facility owner of such safety hazard no later than 10 business days after the discovery. The inspecting company shall also provide a copy of the notice to the pole owner(s). The inspecting company shall include in such notice whether the safety hazard which requires corrective action is located in a designated Extreme and Very High Fire Threat Zone in Southern California. To the extent the inspecting company cannot determine the owner/operator of other company; it shall contact the pole owner(s), who shall be responsible for promptly notifying the company owning/operating the facility with the safety hazard. The notification shall be in writing and must be preserved by all parties for at least five years. It is the responsibility of each pole owner to know the identity of each entity using or maintaining equipment on its pole.

Safety Hazard Conditions
· Type 1 – Conditions that warrant immediate action by the identifying company. Such action would include immediate notification to the electric or communication facility owner and might include taking additional action to warn or protect the public.
FOR LADWP FACILITIES – CONTACT 1.800.DIALDWP (1.800.342.5397)
· Type 2 – Conditions that do not warrant immediate action by the identifying company, but are significant enough to warrant notification to the electric or communication facility owner in accordance with the requirements of General Order 95 – Rule 18B.
FOR LADWP FACILITIES – EMAIL THIS FORM TO: ladwpss&regcomp@ladwp.com
FACILITIES UNDER CONSTRUCTION TYPICALLY DO NOT CONSTITUTE A SAFETY HAZARD
Poles (joint use)

· Broken / Damaged / Deformed 

· Excessive lean / Shallow

Anchors 

· Broken / Damaged / Shallow

Grounds (Electric or Communication)

· Broken / Exposed 

Cable Risers (Electric – all Classes)

· Broken / Damaged w/exposed cable 

Vegetation

· Insufficient clearance to high voltage lines

· Contact w/ low voltage lines and impacting pole 

· Contact w/ communication cables and impacting pole 

Attachments

· Span or Down guys 

· Broken / Damaged / Slack 

· Contact with other facilities 

· Cables (Communication or Electric) 

· Detached (from pole, crossarm insulator or messenger)

· Insufficient vertical clearances (ground level, electric lines- all Classes)

· Excessive Dancing / Galloping (observed on windy days) 

· Broken / Damaged lashing wire

· Conductors (Electric – All Classes) 

· Detached (from pole, crossarm insulator or messenger) 

· Insufficient vertical clearances (ground level, communication lines,  buildings/structures)

· Excessive Dancing / Galloping (observed on windy days)

· Mylar balloons

	

	Insert Photograph of Issue Above


	Pole Number:
	
	Vicinity/Thomas Guide:
	

	

	Location:
	

	
	

	GPS Coordinates
	Latitude:
	
	Longitude:
	

	

	Reporting Utility Code:
	

	Engineering Firm (if applicable):
	

	

	Inspection Date:
	
	Inspected By:
	

	
	
	
	

	

	Inspectors Phone Number:
	

	

	Pole Located in Extreme and Very High Fire Threat Zone in Southern California : 
	

	

	Infracting Utility/s:
	
	
	
	
	
	
	

	

	Utilities on Pole:
	
	
	
	
	
	
	

	

	Description:
	

	

	Does Violation Affect Other Utilities:
	

	

	If Yes, Explain:
	

	
	

	
	

	For LADWP Use Only

	
	

	WR Number:
	
	Date Complete:
	
	Completed by:
	



