AUTHORIZED COSTS
AUTHORIZED COSTS

TRANSFER COSTS

GUY WIRES

ITEM

	20.  Guy wires - transfer (overhead, span, arm, or anchor) including insulators if used:


	(a)  All types and sizes, each end.......................................................................................................................
	141

	(b)  Sidewalk anchor guys (pipe brace and fittings, all sizes)..............................................................................
	199

	NOTE:  When necessary to relocate a guy insulator, add the following to above cost:
	

	(c)  Insulator relocation......................................................................................................................................
	113


TRANSFER COSTS

POWER CIRCUITS

ITEM

	21.  Crossarms - raising, lowering, or transferring of all size crossarms whether in flat, vertical, sidearm or 

       triangular configuration, including the insulators:

	
	
	Plus

	
	
	Conductor

	
	Arm
	Each

	
	
	

	(a)  0-7.5kv single arm (includes service arm)....................................................................................
	186
	74

	(b)  0-7.5kv double arm......................................................................................................................
	273
	94

	(c)  0-7.5kv double arm with reinforcing bracket.................................................................................
	366
	94

	(d)  0-7.5kv sidearm - single...............................................................................................................
	194
	73

	(e)  0-7.5kv sidearm - double..............................................................................................................
	411
	179

	(f)   7.6-15kv single arm.....................................................................................................................
	139
	245

	(g)  7.6-15kv double arm....................................................................................................................
	236
	245

	(h)  7.6-15kv sidearm - single.............................................................................................................
	237
	245

	(i)   7.6-15kv sidearm - double...........................................................................................................
	402
	245

	(j)   16-34kv single arm......................................................................................................................
	287
	161

	(k)  16-34kv double arm.....................................................................................................................
	355
	179

	(l)   16-34kv double arm with reinforcing bracket................................................................................
	488
	179

	(m) 16-34kv sidearm - single.............................................................................................................
	333
	245

	(n)  16-34kv sidearm - double............................................................................................................
	572
	148

	(o)  66-115kv single arm....................................................................................................................
	294
	183

	(p)  66-115kv double arm...................................................................................................................
	458
	183

	(q)  66-115kv steel arm......................................................................................................................
	297
	183


NOTE:  the specified conductor price is to be applied only when it is necessary to untie and retie the conductor.  Where the conductors only are being transferred, the conductor price should be doubled.  Add Item 24 for bonding cost.

NOTES CONCERNING ITEMS 21 AND 22:

For strain dead ends on arm, omit specified conductor cost and add Item 22.  For Close Buck (Smith Corner) construction , cost of transferring corner arm bracing is extra by field agreement.

In triangular or vertical configuration, when circuits are of different voltage or different type of conductor support, apply arm cost for higher voltage involved and respective conductor cost according to voltage.  Where circuits are of different ownership, the utility transferring arms and its own circuit will apply both costs, and the utility transferring conductors only will apply double the specified conductor price.

	22.  Dead ends - on arm or direct to pole, per each dead end, any conductor size:

	(a)  0-750 volt secondary...................................................................................................................................
	90

	(b)  750-7,500 volt primary................................................................................................................................
	245

	(c)  7.6-115kv - 1 or 2 strain insulators..............................................................................................................
	367

	(d)  7.6-115kv - 3 or 4 strain insulators..............................................................................................................
	376

	(e)  7.6-115kv - 5 or 6 strain insulators..............................................................................................................
	416


NOTE:  For dead ends on arm, add the cost of appropriate arm listed under Item 21.  Add Item 24 for bonding cost.

ITEM

	23.  Changing type of construction - flat to vertical, triangular to flat, vertical to flat, etc.:

        (labor cost only - additional arms are extra)

	(a)  7.5-115kv single arm, per pole....................................................................................................................
	416

	(b)  7.5-115kv double arm, per pole...................................................................................................................
	497

	NOTE:  Cost of rebonding is included in above prices.
	


	24.  Bonding, per pole:

	(a)  Single circuit - all voltages..........................................................................................................................
	175

	(b)  Double circuit - all voltages.........................................................................................................................
	350


	25.  Ground wire, including protective covering.................................................................................................
	287


	26.  Pole top switches (oil or open air):
	

	Price by field agreement (cost to be estimated and agreed to by field engineers)
	


	27.  Racks and brackets, secondary:

	(a)  Rack, 3 or 4 wire - direct to pole..................................................................................................................
	131

	       plus conductor, each..................................................................................................................................
	69

	(b)  Bracket, triplex............................................................................................................................................
	76

	       plus triplex conductor.................................................................................................................................
	125

	NOTE:  If rack or bracket supports service drops only, omit specified line conductor cost and add Item 28.

If service drops originate from line conductors, Item 28 is additional
	


	28.  Service conductors - transferring, raising or lowering:

	(a)  #4 conductor or smaller..............................................................................................................................
	52

	(b)  Larger than #4 conductor............................................................................................................................
	76

	(c)  Triplex service conductors...........................................................................................................................
	137


	29.  Transformers, including cutouts, heel arm, and lightning arresters (hanger arms or brackets are extra):

	(a)  1-1/2 to 25kva, each...................................................................................................................................
	984

	(b)  30 to 167 kva, each....................................................................................................................................
	1166

	(c)  Mounting brackets, two transformers..........................................................................................................
	221

	NOTE:  If two transformers are on the same arm, deduct $99 from the total; if three transformers are on the

same arm, deduct $246 from the total.
	


	30.  Capacitors and associated equipment:

	(a)  Capacitor bank, switched............................................................................................................................
	2637

	(b)  Capacitor bank, non-switched.....................................................................................................................
	1965


	31.  Street lights:

	(a)  Center suspension type - span end..............................................................................................................
	162

	(b)  Center suspension type - feed end...............................................................................................................
	285

	(c)  Goose neck or bracket type - open wire.......................................................................................................
	113

	(d)  Goose neck or bracket type - conduit on pole..............................................................................................
	256

	(e)  Mast arm type.............................................................................................................................................
	385

	(f)   Pole top pin and insulator - single...............................................................................................................
	31

	(g)  Pole top pin and insulator - double..............................................................................................................
	38


	32.  Meter or time switch control box:
	

	Price by field agreement
	


	33.  Supports:

	(a)  Single insulator, fiberglas............................................................................................................................
	201

	(b)  Double insulator, fiberglas...........................................................................................................................
	201

	(c)  Triple insulator, fiberglas.............................................................................................................................
	85

	(d)  Pole top insulator, fiberglas.........................................................................................................................
	201


	34.  Support, single deadend, fiberglas...............................................................................................................
	201


	35.  Insulator mounting brackets:

	(a)  Single (vertical or horizontal).......................................................................................................................
	92

	(b)  Double (vertical)..........................................................................................................................................
	147

	(c)  Single, over 40kv.........................................................................................................................................
	385


ITEM

	36.  Steel crossarm, squirrel cage bracket, including insulator:

	(a)  Single.........................................................................................................................................................
	165

	(b)  Double........................................................................................................................................................
	239


	37.  Double circuit side mount insulators (“Dreyfuss Sunburst”)......................................................................
	2447


	38.  Insulator assembly bracket for endarm mountings.....................................................................................
	256

	NOTE:  Refer to Item 21 for conductor cost.
	


	49.  Transferring, raising, or lowering of power line equipment not listed:
	

	Specify under this item number the nature thereof and the agreed cost.
	


TRANSFER COSTS

COMMUNICATION CIRCUITS

ITEM

	75.  Crossarms/Guardarms - transferring, raising, or lowering, per arm:

	(a)  Single.........................................................................................................................................................
	158

	(b)  Double........................................................................................................................................................
	231


	78.  Drive hook with wedge grip unit (“P” tie), either single drop wire or multiple drop wire including conductor:

	(a)  Transferring, raising, or lowering drive hook with one wedge grip unit..........................................................
	15

	(b)  Transferring, raising, or lowering additional wedge grip units on same hook, each.......................................
	10


	79.  Multiple distribution service wire on line pole..............................................................................................
	55


	81.  “C” rural wire (1 pair):

	(a)  “C” rural wire on line pole, each pair............................................................................................................
	24

	(b)  “C” rural wire on dead-end pole, each pair...................................................................................................
	26


	82.  Cable arm with one cable - transferring, raising, or lowering:

	(a)  Single wood arm.........................................................................................................................................
	197

	(b)  Double wood arm........................................................................................................................................
	254

	(c)  Extension arm (“F” or Alley arm)..................................................................................................................
	119

	(d)  Additional cable (on separate messenger) on same arm..............................................................................
	76

	NOTE:  The above prices do not include cable terminals.
	


	83.  Cable attached direct to pole.........................................................................................................................
	81


	84.  Messenger reinforcing units:

	(a)  Reinforcing strap, each................................................................................................................................
	27

	(b)  Reinforcing link, each..................................................................................................................................
	27


	85.  Messenger without cable - transferring, raising, or lowering:  (See Item 82 for transfer of arms)

	(a)  Single wood arm.........................................................................................................................................
	71

	(b)  Double wood arm........................................................................................................................................
	93

	(c)  Extension arm (“F” or Alley arm)..................................................................................................................
	91

	(d)  Direct to pole...............................................................................................................................................
	63


	86.  Messenger dead end, all sizes, with or without cable..................................................................................
	130


	87.  Cable terminal transfer:  (pole to pole, no splicing)

	(a)  Distribution cable terminal (25x - 50x)..........................................................................................................
	56

	(b)  Feeder distribution interface........................................................................................................................
	165

	(c)  Pole seat or balcony....................................................................................................................................
	121


	88.  Multiple distribution wire terminal transfer..................................................................................................
	56


ITEM

	89.  Cable terminal replacement (cost to place new terminal and remove old terminal, including splicing

       due to replacement of pole at location to which existing terminal cannot be transferred) per pair:
	


	(a) All types of terminals except Ready Access-25 Pair or less………………………………………………………..
	600

	(b) Ready Access-24 Pair or less………………………………………………………………………………………….
	274

	(c) Ready Access-24 Pair to 50 Pair………………………………………………………………………………………..
	678

	
	

	NOTE-When necessary to use MD stub, add the following to cost above;
	

	(d) MS stud for Ready Access type
	329


    NOTE-Costs of drop and/or line pair rearrangements and cable transfer are not included in the above prices and are added    

        only when cost of transfer is made applicable under the Routine.  For replacement of terminals larger than 50 pair,

         the cost is to be billed under Item #109.

	91.  Cable splicing, average cost per splice, per pair:
	


	(a) 18 pair…………………………………………………………………….
	@ 2.85 per pair…………………………
	211

	(b) 25 pair…………………………………………………………………….
	@ 2.85 per pair…………………………
	231

	(c) 50 pair…………………………………………………………………….
	@ 2.26 per pair…………………………
	273

	(d) 100 pair…………………………………………………………………..
	@ 2.26 per pair…………………………
	386

	(e) 200 pair…………………………………………………………………..
	@ 2.26 per pair…………………………
	712

	(f) 300 pair……………………………………………………………………
	@ 2.26 per pair…………………………
	838

	(g) 400 pair…………………………………………………………………..
	@1.95 per pair………………………….
	940

	(h) 600 pair…………………………………………………………………..
	@1.95 per pair………………………….
	1330

	(i) 700 pair……………………………………………………………………
	@1.95 per pair………………………….
	1525

	(j) 800 pair……………………………………………………………………
	@1.95 per pair………………………….
	1720

	(k) 900 pair…………………………………………………………………..
	@1.95 per pair………………………….
	1915

	(l) 1200 pair………………………………………………………………….
	@ 1.95 per pair…………………………
	2500


***Splice enclosure disassemble/re-assemble cost of $160.00 embedded in prices listed above.

***NOTE: if tow splices are required, then the above amounts are doubled, plus the cost of the cable needed to enable the splicing process.  Installation costs will be called out separately.  Section 1.2 to be utilized if costs exceed those called out above.

	92.  Cable risers, including pipe and molding, each:..........................................................................................
	272


	93.  Underground and terminal facilities:
	

	Where the location of a pole makes reconstruction of cable plant necessary, the engineer is to estimate the cost (exclusive of material) and include same under this item number in the billing.
	


	94.  Fiber Optic Splicing/Testing:

	(a) FUSION
	

	(1)  24 strand..............................................................................................................................................
	1653

	(2)  48 strand..............................................................................................................................................
	3185

	(3)  60 strand..............................................................................................................................................
	3944

	(4)  72 strand..............................................................................................................................................
	4703

	(5)  96 strand..............................................................................................................................................
	6485

	(6)  144 strand............................................................................................................................................
	9262


	96.  Transfer translator:........................................................................................................................................
	5800


	109.  Transferring, raising, or lowering of communication not listed:
	

	Specify under this item number the nature thereof and agreed cost.
	


Joint Pole Routine Handbook
Page AC-8
January 1, 2000
Joint Pole Routine Handbook
Page AC-7
January 1, 2000

