AUTHORIZED COSTS

AUTHORIZED COSTS


INSTALLATION COSTS

GUYS AND ANCHORS

ITEM

	110.  Guy wire, complete make-up:
	
	

	
	(a)
	Overhead, span, or arm guy.............................................................................................…………………...……..
	305

	
	(b)  
	Anchguy.............................................................................................................................…………………………
	257

	
	(c)  
	Cuttng-in an insulator in existing guy...................................................................................………………………..
	134

	
	(d)  
	Attaching span guy to interset pole.........................................................................................……………………..
	124

	
	(e)  
	Guy guards.......................................................................................................................…………….……………
	24

	
	NOTE:  Where it is necessary to reattach the guy at pole or anchor end, due to cutting-in an insulator, the cost

of relative Sub-Item 20 is to be added.
	

	
	
	

	111. Anchors:
	

	
	(a)
	Expanding Plate (Hand Dig)..........................................................................................................….......………
	916

	
	(b)
	Expanding Plate (Truck Access)………………………………………………………………………….……………
	457

	
	(c)
	PISA (Screw Anchor) …………………………………………………………………………………………………….
	311

	
	(d)
	Hydraulically Driven (Mantaray)......................................................................................................…....……….
	277

	
	(e)
	Concreting an anchor….....................................................................................................…………………………
	116

	
	(f)
	Sale of abandoned anchor to another utility – all sizes…......................................................………………………
	74

	
	NOTE: Actual size of anchor needs to be noted on JPA along with the appropriate item number for type. For existing anchors of an unknown type, use Item 111b.  (The SCJPC recommends using a standard 1¼” anchor in all instances).
	

	
	
	
	
	

	112.  Sidewalk anchor fittings:
	
	

	
	(a)  
	2” pipe brace and fittings........................................................................................................................………….
	133

	
	(b)  
	2-1/2” pipe brace and fittings.................................................................................................................…………..
	136

	
	(c)  
	3” pipe brace and fittings.......................................................................................................................…………..
	139

	
	(d)  
	Sale of abandoned pipe brace and fittings to another utility - all sizes........................................................………
	73

	
	NOTE:  For anchor and rod, include relative Item under 111.  For guy wire, include relative Item under 110.

For transfer of guy wire or sidewalk fitting see Item 20.
	

	
	
	
	

	115.  Heel/toe bracing pole:
	

	
	(a)  
	With treated wood blocks, new pole........................................................................................................…………
	280

	
	(b)  
	With treated wood blocks, existing pole................................................................................................…………..
	444

	
	
	
	

	116.  Breast blocking only, new or existing pole:
	

	
	(a)  
	With treated wood block........................................................................................................………………………
	131

	
	(b)  
	With concrete block..............................................................................................................................……………
	187

	
	
	
	

	119.  Installation of special guy equipment not listed:
	

	
	Specify under this item number the nature thereof and the agreed cost.
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


INSTALLATION COSTS

POWER CIRCUITS

ITEM

	120.  Crossarms, standard line (pins and insulators are extra):
	
	

	
	These are costs for installation or attachment to existing
	
	

	
	(For attachment to existing, use arm cost only)
	
	Plus

	
	
	
	
	Conductor

	
	
	
	Arm
	Each

	
	(a)  
	0-7.5kv single arm (includes service)..........................................................................................……….
	224
	60
	

	
	(b)  
	0-7.5kv double arm...............................................................................................................…...……….
	397
	81
	

	
	(c)  
	0-7.5kv double arm with reinforcing brackets........................................................................…..……….
	563
	81
	

	
	(d)  
	0-7.5kv sidearm - single..............................................................................................................……….
	262
	42
	

	
	(e)  
	0-7.5kv sidearm - double............................................................................................................………..
	606
	81
	

	
	(f)   
	7.6-15kv single arm...............................................................................................................…..……….
	233
	177
	

	
	(g)  
	7.6-15kv double arm................................................................................................................………….
	598
	177
	

	
	(h)  
	7.6-15kv sidearm - single............................................................................................................……….
	276
	177
	

	
	(i)   
	7.6-15kv sidearm - double.......................................................................................................………….
	626
	177
	

	
	
	
	
	
	

	
	
	
	Arm
	16-34kv
	66-115kv

	
	
	
	
	
	
	

	
	(j)   
	16-115kv single arm................................................................................................…………
	435
	129
	127
	

	
	(k)  
	16-115kv double arm................................................................................................………..
	636
	149
	127
	

	
	(l)   
	16-115kv double arm with reinforcing brackets...........…..........................................……….
	737
	149
	127
	

	
	(m)
	16-115kv sidearm - single.........................................................................................……….
	370
	177
	127
	

	
	(n)  
	16-115kv sidearm - double...........................................…........................................………..
	726
	149
	127
	

	
	NOTE:  For dead end on arms, omit the specified conductor cost and add Item 123.

For Close Buck (Smith Corner) construction, the cost of installing corner arm bracing is extra by field

Agreement. See Items 122 and 123 for insulator cost and Item 24 for bonding cost.

	
	
	
	
	
	

	
	
	
	
	 Plus
	

	
	
	
	Extension
	Conductor

	121.  Pole top extensions, including arms (pins and insulators are extra):
	Complete
	     Each
	

	
	
	
	
	
	
	

	
	(a)  
	6 or 7 ft. extension.........................................................…………........................................……….
	459
	
	79
	

	
	(b)  
	8 or 9 ft. extension.....................................................................………...............................………..
	498
	
	85
	

	
	NOTE:  Price for extensions of other lengths to be by field agreement.  Where existing conductors are

Raised, apply specified conductor cost; the cost of raising pins and insulators in such cases shall not be included.  

See Item 122 for insulator cost and Item 24 for bonding cost.
	

	
	
	
	
	

	122.  Insulators, including pins and hardware:
	
	

	
	(a)  
	0-7.5kv pin type, each...............................................................................................................................………..
	14
	

	
	(b)  
	11 or 16kv pin type, each..........................................................................................................................………..
	54
	

	
	(c)  
	34kv pin type, each...................................................................................................................................………..
	140
	

	
	(d)  
	66kv pin type, each...................................................................................................................................………..
	179
	

	
	(e)  
	11 and 16kv post type, each..............................................................…....................................................……….
	107
	

	
	(f)   
	34kv post type, each.................................................................................................................................………..
	121
	

	
	(g)  
	66kv post type, each...........................................................................…..................................................………..
	461
	

	
	(h)  
	34 to 115kv suspension (strain) type, each insulator................................................................................………..
	131
	

	
	
	
	
	

	123.  Dead ends, on arm or direct to pole, per each strain dead end:
	
	

	
	(a)  
	0-750 volt secondary.................................................................................................................................……….
	47
	

	
	(b)  
	750-7,500 volt primary..............................................................................................................................………..
	89
	

	
	(c)  
	11 or 16kv - 1 strain insulator....................................................................................................................……….
	75
	

	
	(d)  
	11 or 16kv - 2 strain insulators..................................................................................................................……….
	120
	

	
	(e)  
	34kv - 4/0 conductor or smaller - 2 insulators......................................….................................................………..
	216
	

	
	(f)   
	34kv - 4/0 conductor or smaller - 3 insulators.......................................…................................................………..
	255
	

	
	(g)  
	34kv - larger than 4/0 conductor - 3 insulators.......................................…...............................................………..
	182
	

	
	(h)  
	66 to 115kv - 4/0 conductor or smaller – 4 insulators...............................................................................………..
	241
	

	
	(i)   
	66 to 115kv - larger than 4/0 conductor - 4 insulators..............................................................................………...
	212
	

	
	NOTE:  Add $37 for each additional insulator on items (c) to (i).  See Item 120 for cost of arms.
	
	


ITEM

	124.  Racks and brackets, secondary:
	
	

	
	(a)
	Rack, 3 or 4 wire - direct to pole..............................................................…................................................………
	65
	

	
	
	plus conductor, each.................................................................................…..............................................………
	45
	

	
	(b)
	Bracket, Triplex..........................................................................................….............................................………
	48
	

	
	
	plus Triplex conductor.................................................................................…............................................………
	51
	

	
	
	
	
	

	125.  Secondary neutral ground assembly, complete.................................................……......................................………
	316
	

	
	NOTE:  This item is to be used only by those utilities that have executed agreements for the installation 

of grounds.
	
	

	
	
	
	
	

	126.  Support:
	
	

	
	(a)  
	Single insulator, fiberglas.....................................................................................…...................................………
	161
	

	
	(b)  
	Double insulator, fiberglas.....................................................................................…..................................………
	161
	

	
	(c)  
	Triple insulator, fiberglas........................................................................................….................................………
	178
	

	
	(d)  
	Pole top insulator, fiberglas.....................................................................................…................................………
	161
	

	
	
	
	
	

	127.  Support, single dead end, fiberglas.................................................................................………........................…….
	161
	

	
	
	
	
	

	128.  Insulator mounting bracket:
	
	

	
	(a)  
	Single (vertical or horizontal).......................................………………………………………………………………….
	327
	

	
	(b)  
	Double (vertical)........................................................................................................................................………..
	292
	

	
	(c)  
	Single, over 40kv.......................................................................................................................................………..
	540
	

	
	
	
	
	

	129.  Steel crossarm, squirrel cage bracket, including insulator:
	
	

	
	(a)  
	Single........................................................................................................................................................………..
	550
	

	
	(b)  
	Double......................................................................................................................................................…………
	791
	

	
	
	
	
	

	130.  Double circuit side mount insulators (“Dreyfuss Sunburst”)..................................................................………..
	2308
	

	
	
	
	
	

	131.  Insulator assembly bracket for endarm mounting...................................................................................……………
	322
	

	
	
	
	
	

	132.  Mounting bracket:
	
	

	
	(a)  
	Two transformers......................................................................................................................................………..
	169
	

	
	(b)  
	Three transformers....................................................................................................................................……….
	482
	

	
	NOTE:  Refer to Item 120 for conductor cost.
	
	

	
	
	
	
	

	149.  Installation of power line equipment not listed:
	
	

	
	Specify under this item number the nature thereof and the agreed cost.
	
	

	
	
	
	
	


INSTALLATION COSTS

COMMUNICATION CIRCUITS

ITEM

	160.  Crossarms/Guard Arms: (For installation or attachment to existing with service wire only)
	
	

	
	(a)  
	Single wood service or guard arm..............................................................................................................………
	127
	

	
	(b)  
	Double wood service or guard arm............................................................................................................……….
	167
	

	
	(c)  
	Attach to existing arm……………………………………………………………………………….…………...
	No Charge

	
	
	
	
	

	163.  Drive hook with wedge grip unit (“P” tie), either single drop or multiple drop wire, including conductor:
	
	

	
	(a)  
	Drive hook with one wedge grip unit...........................................................................................................………
	14
	

	
	(b)  
	Additional wedge grip units on same hook, each.......................................................................................……….
	8
	

	
	
	
	
	

	164.  Cable arm: (For installation or attachment to existing)
	
	

	
	(a)  
	Single arm w/ one cable...............................................................................................................………………….
	156
	

	
	(b)  
	Double arm w/ one cable.........................................................................................................………….....………
	208
	

	
	(c)  
	Extension arm (“F” or Alley arm) w/ one cable…....................................................................…………......………
	144
	

	
	(d)  
	Additional cable (on separate messenger) on same arm….....................................................…………...……….
	68
	

	
	(e)  
	Attach to existing cable arm……………………………………………………………………………….……………
	No Charge

	
	
	
	
	

	165.  Cable attached direct to interset pole, each.............................................................................................…………
	72
	

	
	
	
	
	


ITEM

	166.  Messenger reinforcing units:
	
	

	
	(a)  
	Reinforcing strap, each...............................................................................................................................………
	26
	

	
	(b)  
	Reinforcing link, each..............................................................................................................................…………
	26
	

	
	
	
	
	

	167.  Messenger without cable:
	
	

	
	(a)  
	Single arm................................................................................................................................................………..
	100
	

	
	(b)  
	Double arm...............................................................................................................................................………..
	144
	

	
	(c)  
	Extension arm (“F” or Alley arm)................................................................................................................……….
	110
	

	
	(d)  
	Direct to pole.............................................................................................................................................………..
	80
	

	
	(e)  
	Additional messenger................................................................................................................................……….
	60
	

	
	
	
	
	

	168.  Multiple distribution service wire attached to pole or crossarm.............................................................…….…….
	37
	

	
	
	
	
	

	169.  Protective covering - wood or plastic:  (Box guard)
	
	

	
	Street light stds. (marbelite or metal), each location.........................................................................................…………
	43
	

	
	NOTE:  Billing is optional, depending on policy of utility.
	
	

	
	
	
	
	

	170.  Bonding to secondary neutral ground, per pole.....................................................................................…….………
	57
	

	
	
	
	
	

	
	
	
	
	

	
	
	INSTALLATION COSTS

FIBER OPTICS
	
	

	
	
	
	
	

	
	
	
	
	

	171.  Install translator:......................................................................................................................................……………..
	4918
	

	
	
	
	
	

	199.  Installation of communication equipment not listed:
	
	

	
	Specify under this item number the nature thereof and the agreed cost.
	
	

	
	
	
	
	

	
	
	
	
	


Joint Pole Routine Handbook
Page AC-4
January 1, 1996
Joint Pole Routine Handbook
Page AC-14 
2005-2006


